# Lisbon Water Department

# Meeting Agenda

# 8/8/2023 5:00 PM

# Call Meeting to Order

## Time

# Roll Call

# Warrants

## Warrant #29023 (July 19,2023)

## Warrant #30023 (July 26, 2032)

## Warrant #31023 (Aug 2 ,2023)

## Warrant #32023 (Aug 9, 2032)

# Old Business

## Minutes

### 07/11/2023 Meeting Minutes Approval

## (Tabled) Unresolved Issues

### 26 Summer Street

### Memorial For Bill Bauer

## Any Other Old Business

### 125 Project Update

### Corrosion Control Update

# New Business

## General Mangers Report

### Ann Street Leak

### North Street Hydrant Replacement

#### Sam 14.5 Hour Day

### Terms and Conditions

#### Abatements

#### Customer Upgrades/Turn on Fee

### Bauer Paving

### Moody Road Filter Media

## Business Managers Report

### Banking Access

#### Vote

### CD Update

## Commissioner Communication/Requests

### Ms. Hale

### Mr. Ward

### Mr. McLean

## Customer Communication

### Complain Log

#### 7-31-23 6 School- Dirty water due to hydrant usage from sewer jetting and McGee. Flushed Hydrants

#### 7-28-23 3 Ridge- Dirty Water. Chuck went to home. Flushed outside line for 1 minute. Issue in the home cleared up. Earlier in the day, Chuck gently flushed Frost Hill.

#### 7-17-23 27 East Ave. Sand in Water. Most likely due to the 125 project.

#### 7-14-23 171 Upland- Low Pressure. Sam found the issue to be with the water heater.

#### 7-14-23 6 School Street- Dirty Water. Sam found the issue to be with the hot water heater.

#### Lisbon Tank Road- Memorial Street

## Customer Comments

### None

## Any Other New Business

### None

# Executive Session

## None

# Set next meeting date

# Adjournment

## Time