# Lisbon Water Department

# Meeting Agenda

# 10/10/2023 5:00 PM

# Call Meeting to Order

## Time

# Roll Call

# Warrants

## Warrant #38023 (Sept 20,2023)

## Warrant #39023 (Sept 27, 2032)

## Warrant #40023 (Oct 4 ,2023)

## Warrant #41023 (Oct 11, 2032)

# Old Business

## Minutes

### 08/08/2023 Meeting Minutes Approval

## (Tabled) Unresolved Issues

### 26 Summer Street

### Memorial For Bill Bauer

## Any Other Old Business

### 125 Project Update (Water Complete This Week, What That Means For Us)

### Corrosion Control Update

### Terms and Conditions (Awaiting Approval)

### Awaiting cost for replacement of PRV vault piping

### Ann Street Well Cleaning

# New Business

## General Mangers Report

### Bauer PLC Failure (Cost Proposal Coming)

### Radio Study

### VFD’s Arrival

### 3M Class Action Lawsuit

## Business Managers Report

### None

## Commissioner Communication/Requests

### Ms. Hale

### Mr. Ward

### Mr. McLean

## Customer Communication

### Complain Log

#### 10-3-23 and 10-5-23\_34 Summer. Customer call as water from a tank overflow was running into his garage. \*\*\*\*\*

#### 10-2-23\_16 Douglas St. On a service call, Don found a service line leak. Customer contacted ACE to repair the service line.

#### 7-11-23, 10-2-23\_ 139 Main Street. Customer called in about low pressure. We replaced the meter and found a good bit of what appeared to be construction debris in her service line. Mcgee took apart some of her fixtures, but some needed a special took to remove the screen. Customer is speaking with Mcgee to have the issue resolved.

#### 9-14-23\_5 Pohle St- Custom called in about sulfur smell. When Don arrived customer though it was an iron issue. From his tap, we detected 0.00 iron. Customer was informed to call back if the water quality was in question.

## Customer Comments

### None

## Any Other New Business

### None

# Set Next Meeting Date

# Executive Session

## None

# Adjournment

## Time